Landord:

The City of LaSalle is providing this checklist as a tool to evaluate the condition of your rental property prior to a routine inspection.  By using this guide, you may avoid a lengthy inspection and potentially costly re-inspection fees.   While it is impossible to list every violation of the Property Maintenance Code, this list contains violations that are commonly found during a routine inspection.

Exterior of Building

- Are sidewalks, walkways, stairs, driveways, parking spaces and similar areas in a proper state of repair, and maintained free from hazardous conditions?

- Are accessory structures including detached garages, fences and walls structurally sound, good repair with no peeling paint?

- Are exterior wood surfaces, other than decay-resistant woods, protected from the elements and decay by paint or some other protective covering or treatment?  Is bare wood visible, does it show signs of rot and decay?

- Are all siding and masonry joints maintained, weather resistant, and water tight?

- Are all of the address numbers visible from the street?  Are apartments property identified?

- Is the foundation free from holes, large cracks and openings?

- Are exterior walls free from holes, breaks, and loose or rotting materials; and maintained weatherproof and properly surface coated to prevent deterioration?   Are the surface coatings consistent with surrounding areas of the exterior walls?

- Is the roof and flashing sound, tight and not have defects that admit rain? Are the roof drains, gutters and downspouts maintained in good repair and free from obstructions?

- Are all cornices, belt corses, corbels, terra cotta trim, wall facing and similar decorative features maintained in good repair with proper anchorage and in a safe condition?

- Is every exterior stairway, deck, porch, and balcony, and all appurtenances attached thereto, structurally sound, in good repair, with proper anchorage and capable of supporting the imposed loads?  Do you have level, uniform treads & risers?

- Are guardrails present for all open porches, decks, and landings that are higher than 30 inches above grade?

- Are all chimneys, cooling towers, and smoke stacks maintained structurally safe and sound, and in good repair?

- Are exterior doors, door assemblies and hardware maintained in good condition?

- Are basement hatchways and doors maintained to prevent the entry of rodents, rain and drainage water?

- Are operable windows located 6ft or less above the ground level equipped with locking devices?

- Are exterior doors equipped with deadbolt locks (slide bolts are not acceptable)?

- Is garbage properly stored (lids on all cans) and cans not visible from the street?

Interior of Building

- Is every window, skylight, door and frame in sound condition, good repair and weather tight?

- Are the walls and ceilings free from peeling paint and loose plaster? (Raw and unfinished drywall is not considered clean or sanitary)

- Are all walking surfaces in sound condition and good repair?

- In a multi-family building, are door closures self-closing and latching (if required)?

- Are doors free from cracks, breaks, or holes? Do they fit reasonably well within the frame?

- Are handrails firmly fastened and maintained in good condition? (Required if more than 4 risers)

Light, Ventilation, and Occupancy Limitations

- Is every common hall and stairway in a multi-family building lit at all times?

- Does the bathroom or toilet room have an operable window OR a mechanical means of ventilation?

- Is the clothes dryer vented to the exterior?

- Does the dwelling meet the space need of the occupants?

Plumbing System

- Does each dwelling contain a bathtub, shower, lavatory, water closet, and kitchen sink that is maintained in a sanitary, safe working condition? (no leaking water pipes, sufficient hot and cold water supply and pressure)

- Are plumbing fixtures properly installed and free from obstructions?

- Is the water heater equipped with a temperature/pressure relief valve discharge pipe (copper or galvanized) and gas shut off valve?

- Do all plumbing stacks, vents, waste and sewer lines function properly, free of obstructions and leaks?

- Is the washing machine properly connected to the drainage system?

- Are there any open drain lines?

Electrical System

- Are electrical equipment, wiring and appliances installed properly and maintained in a safe manner? (no missing cover plates, open splices or painted receptacles, junction boxes are secured, cover over the electrical panel, wiring is supported)

- Does every habitable space contain at least two receptacles?  Does every laundry room contain a grounded type receptacle or a GFCI? Does every bathroom contain at least one receptacle?

- Is the electrical system free of hazards?

- Is there a working light fixture present for every public hall, interior stairway, toilet room, kitchen, bathroom, laundry room, and furnace room?

Heating System/Mechanical Equipment

Is the heating system capable of maintaining a room temperature of 68 degrees F in all habitable rooms, bathrooms, and toilet rooms (October 1 – May 31)?

- Are all mechanical equipment, fireplaces, and solid fuel-burning appliances installed properly and maintained in a safe working condition?

- Are all fuel burning heating equipment connected to an approved chimney or vent?

- Does all fuel burning equipment have a proper shut off valve?

Fire Safety

- Are smoke detectors located on each floor of the dwelling, including the basement? Are smoke detectors located within all rooms used for sleeping? Are smoke detectors located just outside the immediate vicinity of bedrooms? Do all smoke alarms function properly?

- Does every sleeping/bedroom have at least one operable window that meets emergency egress/rescue standards?

- Are hallways, exit doors, egress windows, and stairways unobstructed and clear of rubbish or storage?

- Is there a 3 foot clearance around any heating appliance or other source of ignition within the dwelling? (not including cooking stoves)

Amendments made to Residential Rental Ordinance No. 1800 and Corresponding LaSalle Code Sections:

SECTION ONE.  The Residential Rental Licensing Ordinance Number 1800 and §152.01 of the LaSalle City Code and specifically the definition section shall be amended to provide as follows:

TENANT.  Shall mean an adult lessee and/or adult occupant who is a resident of rental residential property other than a lessee who occupies the rental residential property pursuant to the lease of the lessee with the owner.

SECTION TWO.  That Residential Rental Licensing Ordinance Number 1800 and the provision of Section 152.02 of the LaSalle City Code are hereby amended to provide as follows:

§152.02.  INSPECTION RIGHTS AND PENALTIES: NO EFFECT ON LEASES.

- The remedies provided by this Ordinance are also in addition to remedies provided and available to the City of LaSalle and law enforcement agencies in reference to alleged violations of other Ordinances and/or alleged violations of criminal laws of the State of Illinois and/or the United States of America.  This chapter shall not be construed as to restrict the right of this City to inspect any property nor to seek penalties for violations of other provisions of other City ordinances, State and/or Federal law and/or State and/or Federal regulations:

- That in addition to the provisions regarding fees charged in regard to applications as provided within Section 4 of Residential Rental Licensing Ordinance Number 1800 as amended herein and further as provided in Section 152.04 of the LaSalle City Code, there shall henceforth be the following additional fees and charges.

- That in regard to fees in  connection with inspections required and/or allowed by this Ordinance, the following additional charges shall be applicable:

- Initial inspection and/or initial change of tenancy

inspection as provided for in this ordinance 				-No Fee

- First follow-up inspection in regard to initial required

Inspection and/or change of occupancy inspection in respect

to compliance with the recommendations and requirements

of the initial inspection/change of tenancy inspection			-No Fee

- Second follow-up inspection in regard to compliance

regarding the recommendations and requirements of the

initial inspection and/or change of tenancy inspection 			-$25.00

- Third follow-up inspection in regard to compliance

regarding the above referenced requirements and/or

recommendations of the initial inspection and/or change of

tenancy inspection							-$50.00

- That there shall be an additional charge assessed and due

from the owner in regard to any scheduled inspection missed

by the owner 								-$50.00

That additionally, it is provided that the above graduated fee for inspection

Schedule and related charges shall be reinitiated upon each change of

tenancy/occupancy provided that the landlord has previously complied

with any required remediation in accord with earlier inspections.  (i.e. in the

event that there should be a change of occupancy following an initial inspection

concerning which there had been compliance with the requirements of this

Ordinance as approved by the building inspector, then the new change of tenancy/

occupancy shall have no fee charged for the initial inspection on said change of

occupancy.

- This chapter is not intended to and does not affect the rights and obligations of the parties to a lease, oral or written, or of a rental residential property.

SECTION THREE.  The Residential Licensing Ordinance Number 1800, §4(a) and (b) and Section 152.04 of the LaSalle City Code are hereby amended to provide as follows:

§152.04. LICENSE APPLICATION.

- Each applicant for a license or renewal license to maintain a rental residential property, for the purpose of renting it to others or for the purpose of allowing others to occupy it as a dwelling unit or a rooming unit shall file a written application with the Code Official stating:

- The full legal name, address, and home and work telephone numbers of each and every owner of the rental residential property.

- The address of the rental residential property.

- The number of dwelling units or rooming units within the rental residential property.

- In the case of a rental residential property owner who does not reside within the a twenty-five mile radius of LaSalle City Hall (745 Second Street, LaSalle, IL ), the name, address and phone number of his or her agent with authority for receipt of service or notice of a violation of the provisions of this chapter and/or for receipt of service or notice related to compliance and/or enforcement of this chapter and/or the building or zoning ordinances of the City of LaSalle.

- Whenever there is a change in the ownership of a rental residential property or the owner’s property agent, the owners shall, within 30 days of such changes, file an updated written notice with the Code Official indicating such changes.

- The total square footage designated for living and sleeping purposes within the rental residential property as determined by the city’s property maintenance code.

Approval must be obtained from the Code Official prior to any change being made in the number of dwelling units or rooming units within a licensed rental residential property.  Application for such change shall be made on a form provided by the Code Official.   The Code Official will review the proposed change and respond to the property owner within 30 days of the filing of the application.  Any and all changes must meet all zoning, property maintenance code and building code requirements of the City of LaSalle.   If the change increases the total number of dwelling units or

- rooming units in the building  beyond 2, plans from a licensed architect must be submitted to the code official for approval.

- The full legal name of the adult tenant and/or adult tenants of the rental residential property.   Additionally, the owner shall provide written notice to the city of any change in the tenant and/or pursuant to the definition of tenant as provided herein, adult occupant of the rental residential property.

- Each application for a new license or a renewal of an existing license shall be accompanied by a fee of $30.00 for single family dwelling residential rental property, $30.00 for multiple family dwelling residential rental property and $30.00 for rooming house residential rental property.  In addition thereto, a dwelling unit and a rooming unit fee of $30.00 will be assessed for each dwelling unit and rooming units in excess of one.  The fee shall be required to be paid with the application in regard to any new license application.   Any newly issued license shall be valid unless suspended and/or revoked as provided herein from the date of issuance up to and including the next prospective September30th.  All residential rental licenses shall expire on September 30th of each year.   The charge regarding any renewal shall be as aforesaid in the amount of $30.00.  Additionally, in the event that any fee due in regard to a renewal of an existing license shall not be paid by September 30th of any given year, then in that event, there shall be an additional late charged assessed in the amount of an additional $20.00 regarding the renewal.  All fees and charges required by this Ordinance shall be due and payable at the office of the City of LaSalle Comptroller and Billing Department.

SECTION FOUR.  That the provisions of Section 5 of Residential Rental Licensing Ordinance Number 1800 and §152.05 of the LaSalle City Code are hereby amended to provide as follows:

- All rental residential property shall be subject to an inspection as a condition to the issuance of the license prior to the occupancy by a tenant and prior to the issuance of the initial license and/or after any change in tenancy, which per the definition of tenant in this Ordinance includes a change of adult occupancy.  However, no change in tenancy inspection shall be required in the event that the residential rental premises involved in the change of tenancy have passed inspection satisfactory to the Building Inspector within ninety (90) days preceding the change in adult tenancy.  Additional inspections shall be allowed to the City upon a request of a tenant or owner , or upon the city determining that probable cause exists for a violation of the provisions of this Ordinance and /or any other city code for the purpose of determining whether the residential rental property is in compliance with all applicable property maintenance laws, and further in compliance with the City’s Zoning Ordinance, and all other applicable provisions of this Chapter of the LaSalle City Code.  Any such inspection shall also within the discretion of the Building Inspector include a physical inspection of the residential property including the building exterior, common areas, basement, and all individual units of the rental residential property.

That non-withstanding the provision within §152.05 (A) above, in the event that the owner shall have provided written notice to the City of LaSalle of a request for initial inspection and/or request for inspection based upon change of tenancy/occupancy as provided herein by either certified mail, return receipt requested, addressed to the City of LaSalle Building Inspector c/o 745 Second Street, LaSalle, IL 61301 or to the email address of the City of LaSalle Building Inspector presently at c.covert@lasalle-il.gov and in the further event that following receipt of said notice the City shall not within five (5) days perform an inspection then in that event the premises may be leased and occupied by tenants without the issuance of the license, with the City however retaining the right to reasonably inspect the premises regarding said initial issuance and/or change of occupancy within ninety (90) days of said written notice.

(C) compliance time frame will be set by the Code Official.  In establishing a compliance time frame, the 	Code Official shall determine the reasonable minimal time necessary to correct the violations based 	upon the number and severity of the violations.   In the event that the property is unoccupied at the 	time that an inspection of a rental residential property reveals any violations of applicable ordinances, 	the Building Inspector shall have the discretion to require, depending upon a circumstance as deemed 	appropriate within the appropriate exercise of discretion by the Building Inspector that corrections in 	regard to the full remediation and compliance be made prior to the residential rental property being 	allowed to be reoccupied.  The Code Official shall send notice to the property owner or the listed 	property agent by regular U.S. mail at the last address provided on the most recent license application.   	The notice shall include the following:

- Description of the property sufficient for identification;

- A statement listing the violations of applicable ordinances;

- A statement of the date upon which the licensing re-inspection will occur; and

- An explanation that if upon completion of the licensing re-inspection that the requirements of applicable city ordinances have not been met, a written denial of the license application revoking the temporary certificate will be issued.

(D) A licensing re-inspection will be conducted as provided above in the event of change of tenancy, 	which per the definition of this Ordinance shall include change in adult occupancy.  The license shall 	remain in effect upon the successful completion of a licensing re-inspection that determines the rental 	residential property meets the requirements of applicable city ordinances.   If the Code Official finds that 	the requirements of applicable city ordinances have not been met, or that any information provided in 	the license application is false, the license shall be suspended or revoked in accordance with §152.08.

(E) Applications for license renewals shall be made in the same manner as for new applications except that such applications shall state thereon such fact.

SECTION FIVE.  Than the provisions of §10 of Residential Rental Licensing Ordinance Number 1800 and LaSalle City Code §152.10 are hereby amended to provide as follows:

§152.10 INSPECTION ACCESS

If any owner, property agent, tenant, occupant, or other person in control of a rental residential 	property or a dwelling unit or a rooming unit contained therein fails or refuses to consent to free access 	and entry to the property or dwelling unit or rooming unit under his or her control for any inspection 	pursuant to this chapter, the Code Official or his or her designee may apply to the circuit court for a 	search warrant or other appropriate court order authorizing such inspections.  However, except in an 	emergency situation, no application for such a search warrant shall be made without first making a 	reasonable effort to secure access and entry to the property or dwelling unit or rooming unit through 	the owner or the owner’s property agent as identified by the owner pursuant to §4(A) and §9(B) herein.

SECTION SIX. That additionally, the LaSalle City Code is further hereby amended to include §152.12 as follows:

§152.12 SEVERABILITY

If any provisions, clause, sentence, paragraph, section, or part of this ordinance or application thereof to any person or circumstance, shall for any reason be adjudged by a court of competent jurisdiction to be

unconstitutional or invalid, said judgment shall not affect, impair or invalidate the remainder of this ordinance and the application of such provision to other persons or circumstances, but shall be confined in its operation to the provision, clause, sentence, paragraph, section or part thereof directly involved in the controversy in which such judgment shall have been rendered and to the person or circumstance involved.  It is hereby declared to be the legislative intent of the city council that this ordinance would have been adopted had such unconstitutional or invalid provisions, clause, sentence, paragraph, section or part thereof not been included.

SECTION SEVEN.  That additionally, Rental Residential Licensing Ordinance Number 1800, §12 and LaSalle City Code §152.99 are hereby amended to provide as follows:

§152.99 PENALTY.

Any person firm or corporation violating any provisions of this chapter, in addition to other legal and equitable remedies available to the city, shall be fined as provided below.

- Any person violating any of the provisions or failing to comply with any of these mandatory requirements of this chapter shall be guilty of an offense.  Except in cases where a different penalty is prescribed by any ordinances of the city, any person convicted of an offense under this chapter of the City of LaSalle shall be punished by a fine of not less than $50 nor more than a fine of $750.

- Each day during which a violation of this chapter continues or is permitted to exist shall be considered a separate and distinct offense.

- In all cases where the same offense is made punishable or is created by different clauses or sections of this chapter, the prosecuting officer may proceed to hearing under any and all such sections and clauses; but not more than a maximum fine of $750 shall be had against the same person or entity for the same day of the same offense; provided that the revocation of a license or permit shall not be considered a recovery or penalty so as to bar any other penalty being enforced.

- The levy and/or payment of any penalty or fine provided in this chapter shall not be deemed a waiver of the power of the city to suspend, revoke or refuse to renew any license or permit for cause.

SECTION EIGHT.  That this Ordinance shall be in full force and effect on the date which is thirty (30) days subsequent to its passage, approval and publication as provided by law in regard to the amendments hereto to §152.01, §152.02, §152.04(a), §153.05, §152.10, §152.12, and §152.99; the provisions of §152.04(b) and specifically those in regard to late charges and in regard to initial licensing and/or renewal licensing fees shall become effective on September 30, 2015 regarding the licensing fee due on September 30, 2015.